## CAES
Variable | Units | Average | Distribution | Low | High | Stdev | Ref.
pvSize | [MW] | 0 | uniform | 300 | 500 | 0 | Sizing
capacity | [MWh] | 0 | uniform | 300 | 3000 | 0 | Sizing
rate | [MW] | 0 | uniform | 20 | 70 | 0 | Sizing
eff | [%] | 70 | constant | 0 | 0 | 0 | Luo et al 2015
costInstall | [$/kw] | 1000 | constant | 0 | 0 | 0 | Luo et al 2015
costOM | [$/kw/year] | 25 | constant | 0 | 0 | 0 | Luo et al 2015

## UTES
Variable | Units | Average | Distribution | Low | High | Stdev | Ref.
pvSize | [MW] | 0 | uniform | 32.3 | 120 | 0 | Sizing
capacity | [MWh] | 0 | uniform | 100 | 1000 | 0 | Sizing
rate | [MW] | 0 | uniform | 30 | 120 | 0 | Sizing
eff | [%] | 60 | constant | 0 | 0 | 0 | Luo et al 2015
costInstall | [$/kw] | 400 | constant | 0 | 0 | 0 | Luo et al 2015
costOM | [$/kw/year] | 0 | constant | 0 | 0 | 0 | Luo et al 2015

## BATT
Variable | Units | Average | Distribution | Low | High | Stdev | Ref.
pvSize | [MW] | 0 | uniform | 32.3 | 120 | 0 | Sizing
capacity | [MWh] | 0 | uniform | 100 | 1000 | 0 | Sizing
rate | [MW] | 0 | uniform | 30 | 120 | 0 | Sizing
eff | [%] | 90 | constant | 0 | 0 | 0 | Luo et al 2015
costInstall | [$/kw] | 2067 | constant | 0 | 0 | 0 | EIA [71]
costOM | [$/kw/year] | 35.6 | constant | 0 | 0 | 0 | EIA [71]

## Flywheel
Variable | Units | Average | Distribution | Low | High | Stdev | Ref.
pvSize | [MW] | 0 | uniform | 32.3 | 120 | 0 | Sizing
capacity | [MWh] | 0 | uniform | 100 | 1000 | 0 | Sizing
rate | [MW] | 0 | uniform | 30 | 120 | 0 | Sizing
eff | [%] | 95 | constant | 0 | 0 | 0 | Luo et al 2015
costInstall | [$/kw] | 350 | constant | 0 | 0 | 0 | Luo et al 2015
costOM | [$/kw/year] | 20 | constant | 0 | 0 | 0 | Luo et al 2015